## Overview
| WTP_CBD_h | WTP_CBD_m | WTP_CBD_l | WTP_MIX_h | WTP_MIX_m | WTP_MIX_l | WTP_RES_h | WTP_RES_m | WTP_RES_l
Absolute cost deviation from optimum | 3559.069 | 1954.8472 | 1424.5572 | 1005.7495 | 403.5787 | 906.259 | 0 | 0 | 0
% Cost deviation from optimum | 0.03428% | 0.02489% | 0.02684% | 0.01126% | 0.005963% | 0.01986% | 0% | 0% | 0%
Total span | 40780.2608 | 38667.8523 | 27042.7659 | 11138.4056 | 18776.4143 | 14185.3114 | 20711.9227 | 19027.9001 | 15441.3661
% Placement within span | 8.727% | 5.055% | 5.268% | 9.03% | 2.149% | 6.389% | 0% | 0% | 0%

## WTP_CBD_h
| individual | opex | capex | opex_heat | opex_pump | opex_dis_loads | opex_dis_build | opex_plant | opex_hex | capex_network | capex_hex | capex_pump | capex_dis_loads | capex_dis_build | capex_plant | total | plant_buildings | number_of_plants | supplied_loads | disconnected_buildings | has_loops
7 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 10302234.9564 | 80961.11 | 10264824.6158 | 33312.9619 | 0 | 0 | 185.8896 | 3911.4891 | 41819.9357 | 15066.4766 | 20356.9058 | 0 | 0 | 3717.7919 | 10383196.0663 | B005 | 1 | ahuaruscu |  | 0
6 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 10303101.6447 | 81485.9858 | 10264821.4158 | 34182.8502 | 0 | 0 | 185.8896 | 3911.4891 | 42252.7647 | 15066.4766 | 20448.9535 | 0 | 0 | 3717.7911 | 10384587.6305 | B001 | 1 | ahuaruscu |  | 0
4 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 10304349.3431 | 80417.7362 | 10264829.746 | 35422.2182 | 0 | 0 | 185.8897 | 3911.4891 | 41442.7476 | 15066.4766 | 20190.7174 | 0 | 0 | 3717.7947 | 10384767.0793 | B004 | 1 | ahuaruscu |  | 0
8 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0] | 10305106.8132 | 80412.6262 | 10264838.495 | 36170.9394 | 0 | 0 | 185.8897 | 3911.4891 | 41238.4516 | 15066.4766 | 20389.9036 | 0 | 0 | 3717.7944 | 10385519.4394 | B008 | 1 | ahuaruscu |  | 0
1 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0] | 10306072.2628 | 80682.8725 | 10264837.979 | 37136.9049 | 0 | 0 | 185.8897 | 3911.4891 | 41611.1826 | 15066.4766 | 20287.4189 | 0 | 0 | 3717.7944 | 10386755.1353 | B006 | 1 | ahuaruscu |  | 0
9 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 10307237.5985 | 88110.0651 | 10264862.4148 | 38277.8049 | 0 | 0 | 185.8897 | 3911.4891 | 50276.1244 | 15066.4766 | 19049.6695 | 0 | 0 | 3717.7946 | 10395347.6636 | B002 | 1 | ahuaruscu |  | 0
5 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0] | 10315703.8901 | 82146.7886 | 10264761.7214 | 46844.7895 | 0 | 0 | 185.8901 | 3911.4891 | 43232.7023 | 15066.4766 | 20129.8083 | 0 | 0 | 3717.8014 | 10397850.6787 | B009 | 1 | ahuaruscu |  | 0
2 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 10314911.6575 | 93623.1052 | 10264920.844 | 45893.434 | 0 | 0 | 185.8904 | 3911.4891 | 56877.9508 | 15066.4766 | 17960.8696 | 0 | 0 | 3717.8082 | 10408534.7627 | B003 | 1 | ahuaruscu |  | 0
3 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0] | 10324319.7699 | 84385.7248 | 10264688.0436 | 55534.3471 | 0 | 0 | 185.8901 | 3911.4891 | 45354.7285 | 15066.4766 | 20246.7172 | 0 | 0 | 3717.8027 | 10408705.4947 | B007 | 1 | ahuaruscu |  | 0
0 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 10332403.9302 | 91572.397 | 10264608.48 | 63698.0704 | 0 | 0 | 185.8907 | 3911.4891 | 55372.4104 | 15066.4766 | 17415.6965 | 0 | 0 | 3717.8135 | 10423976.3271 | B010 | 1 | ahuaruscu |  | 0
|  | 30168.9738 | 10611.287 | -216.1358 | 30385.1085 | 0 | 0 | 0.0010814 | 0 | 13552.4747 | 0 | -2941.2093 | 0 | 0 | 0.021628 | 40780.2608
Anchor Load
| Price deviation from minimum: | Absolute |  | Span
| 0.03428% | 3559.069 |  | 40780.2608
Price deviation maximum to minimum:
0.3928%
| Anchor load deviation relative to total cost deviation: | [14 empty] | Todo: Update Network image
8.727%

## WTP_CBD_m
| individual | opex | capex | opex_heat | opex_pump | opex_dis_loads | opex_dis_build | opex_plant | opex_hex | capex_network | capex_hex | capex_pump | capex_dis_loads | capex_dis_build | capex_plant | total | plant_buildings | number_of_plants | supplied_loads | disconnected_buildings | has_loops
9 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 7786786.2964 | 67096.0815 | 7758690.5562 | 25030.3482 | 0 | 0 | 139.0187 | 2926.3733 | 39153.9545 | 11589.5974 | 13572.1563 | 0 | 0 | 2780.3734 | 7853882.3779 | B005 | 1 | ahuaruscu |  | 0
3 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 7787221.872 | 67538.098 | 7758696.5678 | 25459.9122 | 0 | 0 | 139.0187 | 2926.3733 | 39571.1787 | 11589.5974 | 13596.9483 | 0 | 0 | 2780.3737 | 7854759.97 | B001 | 1 | ahuaruscu |  | 0
6 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0] | 7788310.7987 | 66707.1086 | 7758690.2842 | 26555.1225 | 0 | 0 | 139.0187 | 2926.3733 | 38989.8345 | 11589.5974 | 13347.3024 | 0 | 0 | 2780.3743 | 7855017.9073 | B008 | 1 | ahuaruscu |  | 0
4 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 7788506.1014 | 66783.5589 | 7758681.1714 | 26759.538 | 0 | 0 | 139.0187 | 2926.3733 | 38934.3223 | 11589.5974 | 13479.2646 | 0 | 0 | 2780.3745 | 7855289.6603 | B004 | 1 | ahuaruscu |  | 0
0 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0] | 7788924.4761 | 66912.749 | 7758697.5958 | 27161.4882 | 0 | 0 | 139.0188 | 2926.3733 | 39349.1275 | 11589.5974 | 13193.649 | 0 | 0 | 2780.3752 | 7855837.2251 | B006 | 1 | ahuaruscu |  | 0
8 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0] | 7798195.2867 | 67943.4386 | 7758581.0244 | 36548.8701 | 0 | 0 | 139.0189 | 2926.3733 | 39942.7065 | 11589.5974 | 13630.7574 | 0 | 0 | 2780.3774 | 7866138.7253 | B009 | 1 | ahuaruscu |  | 0
7 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 7795352.8603 | 73506.912 | 7758702.7566 | 33584.7118 | 0 | 0 | 139.0187 | 2926.3733 | 45511.3949 | 11589.5974 | 13625.5466 | 0 | 0 | 2780.3732 | 7868859.7724 | B002 | 1 | ahuaruscu |  | 0
2 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0] | 7804245.6556 | 69774.4216 | 7758547.6138 | 42632.6493 | 0 | 0 | 139.0192 | 2926.3733 | 41988.2275 | 11589.5974 | 13416.2129 | 0 | 0 | 2780.3838 | 7874020.0772 | B007 | 1 | ahuaruscu |  | 0
5 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 7804360.838 | 78715.1813 | 7758735.4782 | 42559.9673 | 0 | 0 | 139.0192 | 2926.3733 | 50729.1554 | 11589.5974 | 13616.0441 | 0 | 0 | 2780.3844 | 7883076.0193 | B003 | 1 | ahuaruscu |  | 0
1 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 7815846.5623 | 76703.6678 | 7758426.4116 | 54354.7579 | 0 | 0 | 139.0195 | 2926.3733 | 49404.9704 | 11589.5974 | 12928.71 | 0 | 0 | 2780.3901 | 7892550.2302 | B010 | 1 | ahuaruscu |  | 0
Anchor Load
| Price deviation from minimum: | Absolute |  | Span
| 0.02489% | 1954.8472 |  | 38667.8523
Price deviation maximum to minimum:
0.4923%
Anchor load deviation relative to total cost deviation:
5.055%

## WTP_CBD_l
| individual | opex | capex | opex_heat | opex_pump | opex_dis_loads | opex_dis_build | opex_plant | opex_hex | capex_network | capex_hex | capex_pump | capex_dis_loads | capex_dis_build | capex_plant | total | plant_buildings | number_of_plants | supplied_loads | disconnected_buildings | has_loops
6 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 5251334.257 | 56600.0128 | 5227792.1628 | 21141.8371 | 0 | 0 | 96.8246 | 2303.4325 | 32528.2887 | 8692.198 | 13443.0345 | 0 | 0 | 1936.4916 | 5307934.2698 | B005 | 1 | ahuaruscu |  | 0
2 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 5251251.058 | 57014.8103 | 5227793.1596 | 21057.6413 | 0 | 0 | 96.8246 | 2303.4325 | 32986.3407 | 8692.198 | 13399.7802 | 0 | 0 | 1936.4913 | 5308265.8683 | B001 | 1 | ahuaruscu |  | 0
4 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0] | 5252347.7975 | 56200.5524 | 5227798.2986 | 22149.2418 | 0 | 0 | 96.8247 | 2303.4325 | 32313.5803 | 8692.198 | 13258.2808 | 0 | 0 | 1936.4933 | 5308548.3499 | B008 | 1 | ahuaruscu |  | 0
5 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 5252406.8784 | 56225.5106 | 5227786.621 | 22220.0002 | 0 | 0 | 96.8247 | 2303.4325 | 32246.0905 | 8692.198 | 13350.7287 | 0 | 0 | 1936.4935 | 5308632.389 | B004 | 1 | ahuaruscu |  | 0
1 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0] | 5252901.708 | 56457.1189 | 5227802.4236 | 22699.0273 | 0 | 0 | 96.8247 | 2303.4325 | 32579.7629 | 8692.198 | 13248.6641 | 0 | 0 | 1936.4939 | 5309358.827 | B006 | 1 | ahuaruscu |  | 0
0 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0] | 5257537.0498 | 57283.1533 | 5227706.423 | 27430.3693 | 0 | 0 | 96.825 | 2303.4325 | 33472.0502 | 8692.198 | 13182.4053 | 0 | 0 | 1936.4998 | 5314820.2031 | B009 | 1 | ahuaruscu |  | 0
3 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0] | 5260114.7488 | 58921.0199 | 5227652.3088 | 30062.1824 | 0 | 0 | 96.8252 | 2303.4325 | 35717.7375 | 8692.198 | 12574.5806 | 0 | 0 | 1936.5037 | 5319035.7688 | B007 | 1 | ahuaruscu |  | 0
9 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 5259071.2037 | 61339.5668 | 5227823.8462 | 28847.1003 | 0 | 0 | 96.8247 | 2303.4325 | 37577.4988 | 8692.198 | 13133.3764 | 0 | 0 | 1936.4937 | 5320410.7705 | B002 | 1 | ahuaruscu |  | 0
8 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 5263974.1754 | 65261.9949 | 5227895.297 | 33678.6204 | 0 | 0 | 96.8255 | 2303.4325 | 42178.9216 | 8692.198 | 12454.3647 | 0 | 0 | 1936.5106 | 5329236.1703 | B003 | 1 | ahuaruscu |  | 0
7 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 5271358.5351 | 63618.5006 | 5227558.41 | 41399.8669 | 0 | 0 | 96.8257 | 2303.4325 | 41450.0944 | 8692.198 | 11539.6942 | 0 | 0 | 1936.5141 | 5334977.0357 | B010 | 1 | ahuaruscu |  | 0
Anchor Load
| Price deviation from minimum: | Absolute |  | Span
| 0.02684% | 1424.5572 |  | 27042.7659
Price deviation maximum to minimum:
0.5095%
Anchor load deviation relative to total cost deviation:
5.268%

## WTP_MIX_h
| individual | opex | capex | opex_heat | opex_pump | opex_dis_loads | opex_dis_build | opex_plant | opex_hex | capex_network | capex_hex | capex_pump | capex_dis_loads | capex_dis_build | capex_plant | total | plant_buildings | number_of_plants | supplied_loads | disconnected_buildings | has_loops
9 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0] | 8860592.2853 | 73947.63 | 8808679.7414 | 47558.184 | 0 | 0 | 153.1308 | 4201.229 | 45155.9521 | 12458.8172 | 13270.244 | 0 | 0 | 3062.6167 | 8934539.9153 | B006 | 1 | ahuaruscu |  | 0
8 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0] | 8861082.8152 | 73611.3802 | 8808678.3812 | 48050.0741 | 0 | 0 | 153.1309 | 4201.229 | 44676.7444 | 12458.8172 | 13413.2013 | 0 | 0 | 3062.6173 | 8934694.1954 | B008 | 1 | ahuaruscu |  | 0
3 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 8859119.7273 | 75686.9562 | 8808679.7086 | 46085.6589 | 0 | 0 | 153.1307 | 4201.229 | 47021.1139 | 12458.8172 | 13144.4114 | 0 | 0 | 3062.6137 | 8934806.6834 | B005 | 1 | ahuaruscu |  | 0
2 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 8862194.7593 | 73350.9054 | 8808685.706 | 49154.6933 | 0 | 0 | 153.131 | 4201.229 | 44186.8849 | 12458.8172 | 13642.5832 | 0 | 0 | 3062.6201 | 8935545.6648 | B001 | 1 | ahuaruscu |  | 0
1 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 8860893.2469 | 74882.7314 | 8808683.1994 | 47855.6877 | 0 | 0 | 153.1308 | 4201.229 | 46144.6988 | 12458.8172 | 13216.5999 | 0 | 0 | 3062.6155 | 8935775.9783 | B003 | 1 | ahuaruscu |  | 0
6 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0] | 8862693.1738 | 73115.0026 | 8808676.3122 | 49662.5016 | 0 | 0 | 153.1309 | 4201.229 | 43841.1244 | 12458.8172 | 13752.4429 | 0 | 0 | 3062.6182 | 8935808.1764 | B007 | 1 | ahuaruscu |  | 0
0 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 8864290.0579 | 74143.9674 | 8808665.716 | 51269.9819 | 0 | 0 | 153.131 | 4201.229 | 44951.5222 | 12458.8172 | 13671.0078 | 0 | 0 | 3062.6203 | 8938434.0253 | B004 | 1 | ahuaruscu |  | 0
7 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0] | 8865228.24 | 74494.9463 | 8808689.7114 | 52184.1683 | 0 | 0 | 153.1312 | 4201.229 | 45898.6729 | 12458.8172 | 13074.8317 | 0 | 0 | 3062.6246 | 8939723.1863 | B009 | 1 | ahuaruscu |  | 0
5 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 8864726.428 | 77990.6237 | 8808619.4832 | 51752.585 | 0 | 0 | 153.1307 | 4201.229 | 48978.7651 | 12458.8172 | 13490.427 | 0 | 0 | 3062.6144 | 8942717.0517 | B010 | 1 | ahuaruscu |  | 0
4 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 8867050.8807 | 78627.4401 | 8808614.9904 | 54081.5305 | 0 | 0 | 153.1308 | 4201.229 | 49544.9403 | 12458.8172 | 13561.0676 | 0 | 0 | 3062.615 | 8945678.3208 | B002 | 1 | ahuaruscu |  | 0
Anchor Load
| Price deviation from minimum: | Absolute |  | Span
| 0.01126% | 1005.7495 |  | 11138.4056
Price deviation maximum to minimum:
0.1247%
Anchor load deviation relative to total cost deviation:
9.03%

## WTP_MIX_m
| individual | opex | capex | opex_heat | opex_pump | opex_dis_loads | opex_dis_build | opex_plant | opex_hex | capex_network | capex_hex | capex_pump | capex_dis_loads | capex_dis_build | capex_plant | total | plant_buildings | number_of_plants | supplied_loads | disconnected_buildings | has_loops
1 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0] | 6703363.8382 | 64412.8101 | 6664288.4492 | 35758.2028 | 0 | 0 | 115.5599 | 3201.6263 | 41418.6012 | 9561.4178 | 11121.5935 | 0 | 0 | 2311.1977 | 6767776.6483 | B007 | 1 | ahuaruscu |  | 0
4 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 6703566.8355 | 64613.3915 | 6664292.5048 | 35957.1445 | 0 | 0 | 115.5599 | 3201.6263 | 41613.3879 | 9561.4178 | 11127.3869 | 0 | 0 | 2311.1989 | 6768180.227 | B001 | 1 | ahuaruscu |  | 0
0 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 6705562.1886 | 65345.4404 | 6664268.1822 | 37976.8202 | 0 | 0 | 115.5599 | 3201.6263 | 42241.2407 | 9561.4178 | 11231.5833 | 0 | 0 | 2311.1986 | 6770907.629 | B004 | 1 | ahuaruscu |  | 0
3 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0] | 6706345.6005 | 64618.9866 | 6664284.1222 | 38744.2923 | 0 | 0 | 115.5598 | 3201.6263 | 41418.6012 | 9561.4178 | 11327.7716 | 0 | 0 | 2311.196 | 6770964.5871 | B008 | 1 | ahuaruscu |  | 0
8 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0] | 6705870.6309 | 65335.9233 | 6664310.705 | 38242.7394 | 0 | 0 | 115.5603 | 3201.6263 | 43057.8537 | 9561.4178 | 10405.4464 | 0 | 0 | 2311.2054 | 6771206.5542 | B009 | 1 | ahuaruscu |  | 0
5 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0] | 6708524.921 | 64862.2037 | 6664281.7928 | 40925.9421 | 0 | 0 | 115.5598 | 3201.6263 | 41418.6012 | 9561.4178 | 11570.9895 | 0 | 0 | 2311.1952 | 6773387.1247 | B006 | 1 | ahuaruscu |  | 0
2 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 6709898.0954 | 65170.911 | 6664268.8912 | 42312.0183 | 0 | 0 | 115.5596 | 3201.6263 | 41418.6012 | 9561.4178 | 11879.6997 | 0 | 0 | 2311.1923 | 6775069.0064 | B003 | 1 | ahuaruscu |  | 0
9 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 6712591.0648 | 65639.5925 | 6664258.4972 | 45015.3818 | 0 | 0 | 115.5595 | 3201.6263 | 41418.6012 | 9561.4178 | 12348.3839 | 0 | 0 | 2311.1897 | 6778230.6573 | B005 | 1 | ahuaruscu |  | 0
7 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 6716065.952 | 68221.2391 | 6664201.7142 | 48547.052 | 0 | 0 | 115.5596 | 3201.6263 | 43862.2752 | 9561.4178 | 12486.3547 | 0 | 0 | 2311.1913 | 6784287.1911 | B010 | 1 | ahuaruscu |  | 0
6 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 6717785.1081 | 68767.9544 | 6664195.6504 | 50272.2719 | 0 | 0 | 115.5596 | 3201.6263 | 44443.0126 | 9561.4178 | 12452.3322 | 0 | 0 | 2311.1918 | 6786553.0625 | B002 | 1 | ahuaruscu |  | 0
|  | 14421.27 | 4355.1443 | -92.7988 | 14514.069 | 0 | 0 | -0.00029448 | 0 | 3024.4115 | 0 | 1330.7387 | 0 | 0 | -0.0058896 | 18776.4143
Anchor Load
| Price deviation from minimum: | Absolute |  | Span
| 0.005963% | 403.5787 |  | 18776.4143
Price deviation maximum to minimum:
0.2774%
Anchor load deviation relative to total cost deviation:
2.149%

## WTP_mix_l
| individual | opex | capex | opex_heat | opex_pump | opex_dis_loads | opex_dis_build | opex_plant | opex_hex | capex_network | capex_hex | capex_pump | capex_dis_loads | capex_dis_build | capex_plant | total | plant_buildings | number_of_plants | supplied_loads | disconnected_buildings | has_loops
5 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0] | 4511806.5879 | 51082.9633 | 4482126.0142 | 27178.6757 | 0 | 0 | 82.5695 | 2419.3284 | 34626.3621 | 7533.2383 | 7271.9721 | 0 | 0 | 1651.3907 | 4562889.5511 | B007 | 1 | ahuaruscu |  | 0
8 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 4512358.953 | 51436.8572 | 4482137.2176 | 27719.8373 | 0 | 0 | 82.5696 | 2419.3284 | 34863.1773 | 7533.2383 | 7389.0487 | 0 | 0 | 1651.3929 | 4563795.8102 | B001 | 1 | ahuaruscu |  | 0
0 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0] | 4513992.5127 | 51356.2561 | 4482120.7148 | 29369.9 | 0 | 0 | 82.5695 | 2419.3284 | 34626.3621 | 7533.2383 | 7545.2667 | 0 | 0 | 1651.3891 | 4565348.7688 | B008 | 1 | ahuaruscu |  | 0
6 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 4514229.1216 | 52042.1617 | 4482104.4016 | 29622.822 | 0 | 0 | 82.5696 | 2419.3284 | 35474.1525 | 7533.2383 | 7383.3795 | 0 | 0 | 1651.3914 | 4566271.2833 | B004 | 1 | ahuaruscu |  | 0
1 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0] | 4515615.4762 | 51620.2382 | 4482117.8464 | 30995.7319 | 0 | 0 | 82.5694 | 2419.3284 | 34626.3621 | 7533.2383 | 7809.2497 | 0 | 0 | 1651.3881 | 4567235.7143 | B006 | 1 | ahuaruscu |  | 0
3 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0] | 4515045.0117 | 52357.6466 | 4482147.1124 | 30396.0009 | 0 | 0 | 82.57 | 2419.3284 | 35908.2169 | 7533.2383 | 7264.7923 | 0 | 0 | 1651.3991 | 4567402.6583 | B009 | 1 | ahuaruscu |  | 0
2 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 4514942.673 | 52763.4773 | 4482146.2302 | 30294.5449 | 0 | 0 | 82.5695 | 2419.3284 | 35828.4473 | 7533.2383 | 7750.4019 | 0 | 0 | 1651.3898 | 4567706.1503 | B003 | 1 | ahuaruscu |  | 0
4 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 4515308.0348 | 53914.1069 | 4482172.2532 | 30633.8836 | 0 | 0 | 82.5696 | 2419.3284 | 36893.9636 | 7533.2383 | 7835.5139 | 0 | 0 | 1651.3911 | 4569222.1417 | B005 | 1 | ahuaruscu |  | 0
7 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 4518951.6352 | 56699.9597 | 4482107.1568 | 34342.5803 | 0 | 0 | 82.5696 | 2419.3284 | 39412.3491 | 7533.2383 | 8102.9804 | 0 | 0 | 1651.392 | 4575651.5949 | B010 | 1 | ahuaruscu |  | 0
9 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 4519928.4409 | 57146.4216 | 4482105.4064 | 35321.1364 | 0 | 0 | 82.5697 | 2419.3284 | 39944.9607 | 7533.2383 | 8016.8295 | 0 | 0 | 1651.3931 | 4577074.8625 | B002 | 1 | ahuaruscu |  | 0
Anchor Load
| Price deviation from minimum: | Absolute |  | Span
| 0.01986% | 906.259 |  | 14185.3114
Price deviation maximum to minimum:
0.3109%
Anchor load deviation relative to total cost deviation:
6.389%

## WTP_RES_h
| individual | opex | capex | opex_heat | opex_pump | opex_dis_loads | opex_dis_build | opex_plant | opex_hex | capex_network | capex_hex | capex_pump | capex_dis_loads | capex_dis_build | capex_plant | total | plant_buildings | number_of_plants | supplied_loads | disconnected_buildings | has_loops
7 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 2793593.2475 | 39517.0313 | 2786254.0982 | 6205.6406 | 0 | 0 | 61.4709 | 1072.0378 | 23802.4895 | 5505.0587 | 8980.064 | 0 | 0 | 1229.419 | 2833110.2788 | B010 | 1 | ahuaruscu |  | 0
1 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 2795320.883 | 39917.9709 | 2786247.0966 | 7940.2775 | 0 | 0 | 61.4711 | 1072.0378 | 24481.5707 | 5505.0587 | 8701.9193 | 0 | 0 | 1229.4222 | 2835238.8539 | B004 | 1 | ahuaruscu |  | 0
0 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0] | 2796477.3242 | 40680.7939 | 2786257.0874 | 9086.7278 | 0 | 0 | 61.4713 | 1072.0378 | 25405.3038 | 5505.0587 | 8541.0058 | 0 | 0 | 1229.4255 | 2837158.1181 | B006 | 1 | ahuaruscu |  | 0
8 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 2796572.1308 | 40670.1736 | 2786323.6436 | 9114.978 | 0 | 0 | 61.4714 | 1072.0378 | 25294.2676 | 5505.0587 | 8641.4184 | 0 | 0 | 1229.4288 | 2837242.3044 | B001 | 1 | ahuaruscu |  | 0
4 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0] | 2796591.3527 | 40753.1714 | 2786257.6028 | 9200.2409 | 0 | 0 | 61.4713 | 1072.0378 | 25496.2622 | 5505.0587 | 8522.4245 | 0 | 0 | 1229.4259 | 2837344.5241 | B009 | 1 | ahuaruscu |  | 0
9 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 2797619.3657 | 41604.9868 | 2786189.2686 | 10296.588 | 0 | 0 | 61.4713 | 1072.0378 | 26389.7174 | 5505.0587 | 8480.7838 | 0 | 0 | 1229.4269 | 2839224.3526 | B005 | 1 | ahuaruscu |  | 0
6 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0] | 2798523.5423 | 41609.0009 | 2786281.9258 | 11108.107 | 0 | 0 | 61.4718 | 1072.0378 | 27124.5973 | 5505.0587 | 7749.9092 | 0 | 0 | 1229.4356 | 2840132.5432 | B007 | 1 | ahuaruscu |  | 0
3 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 2798720.5576 | 42583.0158 | 2786161.4042 | 11425.6442 | 0 | 0 | 61.4715 | 1072.0378 | 27905.4369 | 5505.0587 | 7943.0897 | 0 | 0 | 1229.4304 | 2841303.5735 | B003 | 1 | ahuaruscu |  | 0
2 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 2802338.3872 | 45291.668 | 2786099.3812 | 15105.4963 | 0 | 0 | 61.4719 | 1072.0378 | 31032.8131 | 5505.0587 | 7524.3587 | 0 | 0 | 1229.4376 | 2847630.0552 | B002 | 1 | ahuaruscu |  | 0
5 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0] | 2806139.2067 | 47682.9948 | 2786116.9298 | 18888.7664 | 0 | 0 | 61.4727 | 1072.0378 | 34252.185 | 5505.0587 | 6696.2965 | 0 | 0 | 1229.4546 | 2853822.2015 | B008 | 1 | ahuaruscu |  | 0
Anchor Load
| Price deviation from minimum: | Absolute |  | Span
| 0% | 0 |  | 20711.9227
Price deviation maximum to minimum:
0.7311%
Anchor load deviation relative to total cost deviation:
0%

## WTP_RES_m
| individual | opex | capex | opex_heat | opex_pump | opex_dis_loads | opex_dis_build | opex_plant | opex_hex | capex_network | capex_hex | capex_pump | capex_dis_loads | capex_dis_build | capex_plant | total | plant_buildings | number_of_plants | supplied_loads | disconnected_buildings | has_loops
8 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 2125395.8654 | 34437.9366 | 2118657.562 | 5821.5796 | 0 | 0 | 47.504 | 869.2198 | 21357.8552 | 4346.099 | 7783.9018 | 0 | 0 | 950.0806 | 2159833.802 | B010 | 1 | ahuaruscu |  | 0
7 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 2126154.1732 | 34875.456 | 2118637.4998 | 6599.9495 | 0 | 0 | 47.5041 | 869.2198 | 22109.1106 | 4346.099 | 7470.1642 | 0 | 0 | 950.0823 | 2161029.6293 | B004 | 1 | ahuaruscu |  | 0
5 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0] | 2127107.5524 | 35204.434 | 2118668.6952 | 7522.1329 | 0 | 0 | 47.5044 | 869.2198 | 22968.0093 | 4346.099 | 6940.2369 | 0 | 0 | 950.0888 | 2162311.9864 | B006 | 1 | ahuaruscu |  | 0
3 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 2127181.4935 | 35194.3696 | 2118715.8602 | 7548.909 | 0 | 0 | 47.5045 | 869.2198 | 23012.6057 | 4346.099 | 6885.5749 | 0 | 0 | 950.09 | 2162375.8631 | B001 | 1 | ahuaruscu |  | 0
1 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0] | 2127224.561 | 35249.4075 | 2118669.108 | 7638.7288 | 0 | 0 | 47.5045 | 869.2198 | 23042.4591 | 4346.099 | 6910.76 | 0 | 0 | 950.0893 | 2162473.9685 | B009 | 1 | ahuaruscu |  | 0
6 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 2128117.2941 | 35898.7486 | 2118566.6894 | 8633.8806 | 0 | 0 | 47.5043 | 869.2198 | 23736.2327 | 4346.099 | 6866.3314 | 0 | 0 | 950.0855 | 2164016.0427 | B005 | 1 | ahuaruscu |  | 0
0 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0] | 2129405.2773 | 36247.7612 | 2118685.1992 | 9803.3534 | 0 | 0 | 47.5049 | 869.2198 | 24244.5272 | 4346.099 | 6707.037 | 0 | 0 | 950.098 | 2165653.0385 | B007 | 1 | ahuaruscu |  | 0
4 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 2129674.5537 | 36712.5242 | 2118525.4106 | 10232.419 | 0 | 0 | 47.5044 | 869.2198 | 24669.3475 | 4346.099 | 6746.9905 | 0 | 0 | 950.0872 | 2166387.0779 | B003 | 1 | ahuaruscu |  | 0
9 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 2133456.1974 | 38810.1886 | 2118470.8066 | 14068.6662 | 0 | 0 | 47.5048 | 869.2198 | 27242.2818 | 4346.099 | 6271.7119 | 0 | 0 | 950.0959 | 2172266.386 | B002 | 1 | ahuaruscu |  | 0
2 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0] | 2137865.3755 | 40996.3265 | 2118466.8044 | 18481.8458 | 0 | 0 | 47.5055 | 869.2198 | 29487.5556 | 4346.099 | 6212.5618 | 0 | 0 | 950.1101 | 2178861.7021 | B008 | 1 | ahuaruscu |  | 0
Anchor Load
| Price deviation from minimum: | Absolute |  | Span
| 0% | 0 |  | 19027.9001
Price deviation maximum to minimum:
0.881%
Anchor load deviation relative to total cost deviation:
0%

## WTP_RES_l
| individual | opex | capex | opex_heat | opex_pump | opex_dis_loads | opex_dis_build | opex_plant | opex_hex | capex_network | capex_hex | capex_pump | capex_dis_loads | capex_dis_build | capex_plant | total | plant_buildings | number_of_plants | supplied_loads | disconnected_buildings | has_loops
4 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 1436172.668 | 29624.5767 | 1430681.689 | 4617.3672 | 0 | 0 | 33.366 | 840.2458 | 19004.1965 | 3766.6191 | 6186.4413 | 0 | 0 | 667.3198 | 1465797.2447 | B010 | 1 | ahuaruscu |  | 0
0 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 1437343.8773 | 29789.447 | 1430667.2178 | 5803.0475 | 0 | 0 | 33.3661 | 840.2458 | 19265.7345 | 3766.6191 | 6089.7707 | 0 | 0 | 667.3227 | 1467133.3243 | B004 | 1 | ahuaruscu |  | 0
9 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 1437136.2237 | 30395.1035 | 1430741.7472 | 5520.8641 | 0 | 0 | 33.3666 | 840.2458 | 20277.0635 | 3766.6191 | 5684.0889 | 0 | 0 | 667.332 | 1467531.3272 | B001 | 1 | ahuaruscu |  | 0
6 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0] | 1437213.6865 | 30620.0804 | 1430691.5682 | 5648.5061 | 0 | 0 | 33.3664 | 840.2458 | 20180.6259 | 3766.6191 | 6005.5067 | 0 | 0 | 667.3286 | 1467833.7669 | B006 | 1 | ahuaruscu |  | 0
2 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0] | 1437246.4589 | 30671.4434 | 1430692.7554 | 5680.0912 | 0 | 0 | 33.3665 | 840.2458 | 20258.2366 | 3766.6191 | 5979.2585 | 0 | 0 | 667.3291 | 1467917.9023 | B009 | 1 | ahuaruscu |  | 0
5 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0] | 1437951.9956 | 31553.7001 | 1430745.2642 | 6333.1184 | 0 | 0 | 33.3672 | 840.2458 | 21511.591 | 3766.6191 | 5608.1463 | 0 | 0 | 667.3436 | 1469505.6957 | B007 | 1 | ahuaruscu |  | 0
8 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 1439448.0401 | 30762.9306 | 1430638.5956 | 7935.8321 | 0 | 0 | 33.3665 | 840.2458 | 20547.972 | 3766.6191 | 5781.0085 | 0 | 0 | 667.331 | 1470210.9707 | B005 | 1 | ahuaruscu |  | 0
7 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 1441037.5438 | 31421.4342 | 1430621.2342 | 9542.6971 | 0 | 0 | 33.3668 | 840.2458 | 21283.3039 | 3766.6191 | 5704.1754 | 0 | 0 | 667.3357 | 1472458.978 | B003 | 1 | ahuaruscu |  | 0
1 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 1444844.7851 | 32886.7941 | 1430636.6402 | 13334.5314 | 0 | 0 | 33.3677 | 840.2458 | 22998.3551 | 3766.6191 | 5454.4657 | 0 | 0 | 667.3542 | 1477731.5792 | B002 | 1 | ahuaruscu |  | 0
3 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0] | 1446117.4497 | 35121.1611 | 1430656.8724 | 14586.9629 | 0 | 0 | 33.3686 | 840.2458 | 25633.4227 | 3766.6191 | 5053.7479 | 0 | 0 | 667.3714 | 1481238.6108 | B008 | 1 | ahuaruscu |  | 0
Anchor Load
| Price deviation from minimum: | Absolute |  | Span
| 0% | 0 |  | 15441.3661
Price deviation maximum to minimum:
1.053%
Anchor load deviation relative to total cost deviation:
0%

## WTP_mix_m_new
| individual | opex | capex | opex_heat | opex_pump | opex_dis_loads | opex_dis_build | opex_plant | opex_CT | opex_hex | capex_network | capex_pump | capex_dis_loads | capex_dis_build | capex_plant | capex_CT | capex_hex | total | plant_buildings | number_of_plants | supplied_loads | disconnected_buildings | has_loops | length | avg_diam
7 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0] | 5034435.2748 | 932284.5005 | 4951966.3013 | 35758.2028 | 0 | 0 | 39435.2164 | 4073.928 | 3201.6263 | 41418.6012 | 11121.5935 | 0 | 0 | 788704.3286 | 81478.5595 | 9561.4178 | 5966719.7753 | B007 | 1 | ahuaruscu |  | 0 | 1382.1336 | 0.23376
2 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 5034637.2651 | 932485.7826 | 4951969.3148 | 35957.1445 | 0 | 0 | 39435.2478 | 4073.9317 | 3201.6263 | 41613.3879 | 11127.3869 | 0 | 0 | 788704.956 | 81478.6341 | 9561.4178 | 5967123.0477 | B001 | 1 | ahuaruscu |  | 0 | 1382.1336 | 0.23676
3 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 5036638.8592 | 933217.6624 | 4951951.2417 | 37976.8202 | 0 | 0 | 39435.2402 | 4073.9308 | 3201.6263 | 42241.2407 | 11231.5833 | 0 | 0 | 788704.8045 | 81478.6161 | 9561.4178 | 5969856.5216 | B004 | 1 | ahuaruscu |  | 0 | 1382.1336 | 0.2386
4 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0] | 5037418.1042 | 932489.783 | 4951963.0861 | 38744.2923 | 0 | 0 | 39435.1764 | 4073.9232 | 3201.6263 | 41418.6012 | 11327.7716 | 0 | 0 | 788703.5282 | 81478.4643 | 9561.4178 | 5969907.8872 | B008 | 1 | ahuaruscu |  | 0 | 1382.1336 | 0.23376
6 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0] | 5036936.5605 | 933211.8419 | 4951982.8387 | 38242.7394 | 0 | 0 | 39435.4057 | 4073.9505 | 3201.6263 | 43057.8537 | 10405.4464 | 0 | 0 | 788708.1144 | 81479.0096 | 9561.4178 | 5970148.4024 | B009 | 1 | ahuaruscu |  | 0 | 1382.1336 | 0.25062
8 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0] | 5039598.0002 | 932732.5411 | 4951961.3552 | 40925.9421 | 0 | 0 | 39435.1559 | 4073.9208 | 3201.6263 | 41418.6012 | 11570.9895 | 0 | 0 | 788703.1171 | 81478.4154 | 9561.4178 | 5972330.5413 | B006 | 1 | ahuaruscu |  | 0 | 1382.1336 | 0.23376
0 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 5040974.4111 | 933039.6779 | 4951951.7685 | 42312.0183 | 0 | 0 | 39435.0855 | 4073.9124 | 3201.6263 | 41418.6012 | 11879.6997 | 0 | 0 | 788701.711 | 81478.2483 | 9561.4178 | 5974014.089 | B003 | 1 | ahuaruscu |  | 0 | 1382.1336 | 0.2361
9 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 5043669.9798 | 933506.9339 | 4951944.0451 | 45015.3818 | 0 | 0 | 39435.0217 | 4073.9048 | 3201.6263 | 41418.6012 | 12348.3839 | 0 | 0 | 788700.4346 | 81478.0965 | 9561.4178 | 5977176.9137 | B005 | 1 | ahuaruscu |  | 0 | 1382.1336 | 0.23963
1 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 5047159.5016 | 936089.4744 | 4951901.852 | 48547.052 | 0 | 0 | 39435.0618 | 4073.9096 | 3201.6263 | 43862.2752 | 12486.3547 | 0 | 0 | 788701.235 | 81478.1917 | 9561.4178 | 5983248.976 | B010 | 1 | ahuaruscu |  | 0 | 1382.1336 | 0.25416
5 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 5048880.2278 | 936636.4314 | 4951897.3462 | 50272.2719 | 0 | 0 | 39435.0726 | 4073.9109 | 3201.6263 | 44443.0126 | 12452.3322 | 0 | 0 | 788701.4514 | 81478.2174 | 9561.4178 | 5985516.6592 | B002 | 1 | ahuaruscu |  | 0 | 1382.1336 | 0.26281
|  | 14444.953 | 4351.9309 | -68.9551 | 14514.069 | 0 | 0 | -0.14386 | -0.017105 | 0 | 3024.4115 | 1330.7387 | 0 | 0 | -2.8772 | -0.3421 | 0 | 18796.8838
Anchor Load
| Price deviation from minimum: | Absolute |  | Span
| 0.006759% | 403.2724 |  | 18796.8838
Price deviation maximum to minimum:
0.315%
Anchor load deviation relative to total cost deviation:
2.145%
| Lowest Cost | Highest Cost | Difference
opex_hex | 3201.6263 | 3201.6263 | 0
opex_CT | 4073.928 | 4073.9109 | -0.017105
capex_hex | 9561.4178 | 9561.4178 | 0
capex_pump | 11121.5935 | 12452.3322 | 1330.7387
opex_pump | 35758.2028 | 50272.2719 | 14514.069
opex_chiller | 39435.2164 | 39435.0726 | -0.14386
capex_network | 41418.6012 | 44443.0126 | 3024.4115
capex_CT | 81478.5595 | 81478.2174 | -0.3421
capex_chiller | 788704.3286 | 788701.4514 | -2.8772
opex_heat | 4951966.3013 | 4951897.3462 | -68.9551
avg_diam | 0.23376 | 0.26281 | 0.029052

## LCoE
Discount rate | 0.05 |  | t | Cost | Energy
Lifetime | 25 | years | 1 | 5682590.2622 | 127001301.9522
|  |  | 2 | 5411990.7259 | 120953620.9068
|  |  | 3 | 5154276.8818 | 115193924.6732
Total Cost per year | 5966719.7753 | USD | 4 | 4908835.1255 | 109708499.6887
Generated Cooling per year | 133351367.0498 | kWh | 5 | 4675081.0719 | 104484285.4178
|  |  | 6 | 4452458.1638 | 99508843.2551
LCoE | 0.044744 | USD/kWh | 7 | 4240436.3464 | 94770326.9096
|  |  | 8 | 4038510.8061 | 90257454.1996
|  |  | 9 | 3846200.7677 | 85959480.1901
|  |  | 10 | 3663048.3502 | 81866171.6096
|  |  | 11 | 3488617.4764 | 77967782.4854
|  |  | 12 | 3322492.8347 | 74255030.9384
|  |  | 13 | 3164278.8902 | 70719077.0842
|  |  | 14 | 3013598.943 | 67351501.985
|  |  | 15 | 2870094.2314 | 64144287.6047
|  |  | 16 | 2733423.0776 | 61089797.7188
|  |  | 17 | 2603260.0739 | 58180759.7322
|  |  | 18 | 2479295.3084 | 55410247.364
|  |  | 19 | 2361233.6271 | 52771664.1562
|  |  | 20 | 2248793.9306 | 50258727.7678
|  |  | 21 | 2141708.5053 | 47865455.0169
|  |  | 22 | 2039722.386 | 45586147.6352
|  |  | 23 | 1942592.7486 | 43415378.7002
|  |  | 24 | 1850088.332 | 41347979.7145
|  |  | 25 | 1761988.8876 | 39379028.2995
|  |  |  | 84094617.7543 | 1879446775.0057