## Overview
Annualized Capex network | 710048.147 |  | Annualized Capex network | 711483.2774
Annualized Capex pump | 11811.0803 |  | Annualized Capex pump | 12262.9414
Annualized Capex disconnected loads | 0 |  | Annualized Capex disconnected loads | 0
Annualized Capex disconnected buildings | 0 |  | Annualized Capex disconnected buildings | 0
Annualized Capex plant | 1638964.8574 |  | Annualized Capex plant | 1637509.2981
Annualized Opex heat | 3881.9959 |  | Annualized Opex heat | 3878.5483
Annualized Opex pump | 309.866 |  | Annualized Opex pump | 313.7975
Annualized Opex disconnected loads | 0 |  | Annualized Opex disconnected loads | 0
Annualized Opex disconnected building | 0 |  | Annualized Opex disconnected building | 0
Annualized Opex plant | 81948.2429 |  | Annualized Opex plant | 81875.4649
Total | 2446964.1895 |  |  | 2447323.3276
Capex | 2360824.0847 | 96.48% |  | 2361255.5168 | 96.48%
Opex | 86140.1048 | 3.52% |  | 86067.8108 | 3.517%
Reduced timesteps |  |  | Full Timesteps