## Original
CBD_m | individual | opex | capex | opex_heat | opex_pump | opex_dis_loads | opex_dis_build | opex_chiller | opex_CT | opex_hex | capex_network | capex_pump | capex_dis_loads | capex_dis_build | capex_chiller | capex_CT | capex_hex | total | plant_buildings | number_of_plants | supplied_loads | disconnected_buildings | has_loops | length | avg_diam
2 | [0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0] | 5683870.7279 | 1239586.3907 | 0 | 0 | 5683870.7279 | 0 | 0 | 0 | 0 | 0 | 0 | 1239586.3907 | 0 | 0 | 0 | 0 | 6923457.1186 | B006 | 1 | scu |  | 0 | 1422.6338 | 0.0216
5 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0] | 5683870.7279 | 1239586.3907 | 0 | 0 | 5683870.7279 | 0 | 0 | 0 | 0 | 0 | 0 | 1239586.3907 | 0 | 0 | 0 | 0 | 6923457.1186 | B006 | 1 |  |  | 0 | 1422.6338 | 0.0216
1 | [1.0, 1.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0] | 5845989.4846 | 1078605.1851 | 5765177.9825 | 27161.4882 | 0 | 0 | 45883.0774 | 4840.5631 | 2926.3733 | 39349.1275 | 13193.649 | 0 | 0 | 917661.5488 | 96811.2625 | 11589.5974 | 6924594.6696 | B006 | 1 | ahuaruscu |  | 0 | 1422.6338 | 0.2417
6 | [1.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0] | 5845989.4846 | 1078605.1851 | 5765177.9825 | 27161.4882 | 0 | 0 | 45883.0774 | 4840.5631 | 2926.3733 | 39349.1275 | 13193.649 | 0 | 0 | 917661.5488 | 96811.2625 | 11589.5974 | 6924594.6696 | B006 | 1 | ahuaru |  | 0 | 1422.6338 | 0.2417
4 | [1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0] | 5779637.7253 | 1232299.5453 | 3532765.9354 | 15576.7096 | 2191923.838 | 0 | 34206.6649 | 3440.6248 | 1723.9526 | 29552.9818 | 9161.1273 | 433975.6239 | 0 | 684133.2984 | 68812.4954 | 6664.0185 | 7011937.2706 | B006 | 1 | ahu |  | 0 | 1422.6338 | 0.17774
7 | [1.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0] | 5779637.7253 | 1232299.5453 | 3532765.9354 | 15576.7096 | 2191923.838 | 0 | 34206.6649 | 3440.6248 | 1723.9526 | 29552.9818 | 9161.1273 | 433975.6239 | 0 | 684133.2984 | 68812.4954 | 6664.0185 | 7011937.2706 | B006 | 1 | ahuscu |  | 0 | 1422.6338 | 0.17774
0 | [0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0] | 5764568.0719 | 1382364.6286 | 2230201.9761 | 14249.6036 | 3495377.6568 | 0 | 21061.8624 | 1866.0984 | 1810.8746 | 31293.5306 | 10752.5395 | 874226.1051 | 0 | 421237.2475 | 37321.9676 | 7533.2383 | 7146932.7005 | B006 | 1 | aru |  | 0 | 1422.6338 | 0.18874
3 | [0.0, 1.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0] | 5764568.0719 | 1382364.6286 | 2230201.9761 | 14249.6036 | 3495377.6568 | 0 | 21061.8624 | 1866.0984 | 1810.8746 | 31293.5306 | 10752.5395 | 874226.1051 | 0 | 421237.2475 | 37321.9676 | 7533.2383 | 7146932.7005 | B006 | 1 | aruscu |  | 0 | 1422.6338 | 0.18874
MIX_m | individual | opex | capex | opex_heat | opex_pump | opex_dis_loads | opex_dis_build | opex_chiller | opex_CT | opex_hex | capex_network | capex_pump | capex_dis_loads | capex_dis_build | capex_chiller | capex_CT | capex_hex | total | plant_buildings | number_of_plants | supplied_loads | disconnected_buildings | has_loops | length | avg_diam
1 | [1.0, 1.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 5034637.2651 | 932485.7826 | 4951969.3148 | 35957.1445 | 0 | 0 | 39435.2478 | 4073.9317 | 3201.6263 | 41613.3879 | 11127.3869 | 0 | 0 | 788704.956 | 81478.6341 | 9561.4178 | 5967123.0477 | B001 | 1 | ahuaru |  | 0 | 1382.1336 | 0.23676
6 | [1.0, 1.0, 1.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 5034637.2651 | 932485.7826 | 4951969.3148 | 35957.1445 | 0 | 0 | 39435.2478 | 4073.9317 | 3201.6263 | 41613.3879 | 11127.3869 | 0 | 0 | 788704.956 | 81478.6341 | 9561.4178 | 5967123.0477 | B001 | 1 | ahuaruscu |  | 0 | 1382.1336 | 0.23676
0 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 4886764.2006 | 1091861.1998 | 0 | 0 | 4886764.2006 | 0 | 0 | 0 | 0 | 0 | 0 | 1091861.1998 | 0 | 0 | 0 | 0 | 5978625.4004 | B001 | 1 |  |  | 0 | 1382.1336 | 0.0216
3 | [0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 4886764.2006 | 1091861.1998 | 0 | 0 | 4886764.2006 | 0 | 0 | 0 | 0 | 0 | 0 | 1091861.1998 | 0 | 0 | 0 | 0 | 5978625.4004 | B001 | 1 | scu |  | 0 | 1382.1336 | 0.0216
2 | [1.0, 0.0, 1.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 4985303.2659 | 1113024.4946 | 3465130.5978 | 18432.3865 | 1463686.9397 | 0 | 33740.9248 | 3385.2494 | 927.1678 | 40390.5772 | 5255.7355 | 318480.4202 | 0 | 674818.4954 | 67704.9877 | 6374.2785 | 6098327.7605 | B001 | 1 | ahuscu |  | 0 | 1382.1336 | 0.21845
5 | [1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 4985303.2659 | 1113024.4946 | 3465130.5978 | 18432.3865 | 1463686.9397 | 0 | 33740.9248 | 3385.2494 | 927.1678 | 40390.5772 | 5255.7355 | 318480.4202 | 0 | 674818.4954 | 67704.9877 | 6374.2785 | 6098327.7605 | B001 | 1 | ahu |  | 0 | 1382.1336 | 0.21845
4 | [0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 4941444.5611 | 1271284.2214 | 1484698.5339 | 9161.5108 | 3427250.5721 | 0 | 17086.2062 | 1393.4024 | 1854.3356 | 29551.805 | 9788.1804 | 856847.004 | 0 | 341724.1246 | 27868.0487 | 5505.0587 | 6212728.7825 | B001 | 1 | aru |  | 0 | 1382.1336 | 0.16594
7 | [0.0, 1.0, 1.0, 0.0, 0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0] | 4941444.5611 | 1271284.2214 | 1484698.5339 | 9161.5108 | 3427250.5721 | 0 | 17086.2062 | 1393.4024 | 1854.3356 | 29551.805 | 9788.1804 | 856847.004 | 0 | 341724.1246 | 27868.0487 | 5505.0587 | 6212728.7825 | B001 | 1 | aruscu |  | 0 | 1382.1336 | 0.16594
RES_m | individual | opex | capex | opex_heat | opex_pump | opex_dis_loads | opex_dis_build | opex_chiller | opex_CT | opex_hex | capex_network | capex_pump | capex_dis_loads | capex_dis_build | capex_chiller | capex_CT | capex_hex | total | plant_buildings | number_of_plants | supplied_loads | disconnected_buildings | has_loops | length | avg_diam
0 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 1556509.3091 | 393130.6741 | 0 | 0 | 1556509.3091 | 0 | 0 | 0 | 0 | 0 | 0 | 393130.6741 | 0 | 0 | 0 | 0 | 1949639.9832 | B010 | 1 |  |  | 0 | 1291.8552 | 0.0216
5 | [0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 1556509.3091 | 393130.6741 | 0 | 0 | 1556509.3091 | 0 | 0 | 0 | 0 | 0 | 0 | 393130.6741 | 0 | 0 | 0 | 0 | 1949639.9832 | B010 | 1 | scu |  | 0 | 1291.8552 | 0.0216
1 | [1.0, 1.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 1601356.388 | 441005.0648 | 1574289.7281 | 5821.5796 | 0 | 0 | 18780.9563 | 1594.9041 | 869.2198 | 21357.8552 | 7783.9018 | 0 | 0 | 375619.126 | 31898.0827 | 4346.099 | 2042361.4527 | B010 | 1 | ahuaruscu |  | 0 | 1291.8552 | 0.12545
4 | [1.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 1601356.388 | 441005.0648 | 1574289.7281 | 5821.5796 | 0 | 0 | 18780.9563 | 1594.9041 | 869.2198 | 21357.8552 | 7783.9018 | 0 | 0 | 375619.126 | 31898.0827 | 4346.099 | 2042361.4527 | B010 | 1 | ahuaru |  | 0 | 1291.8552 | 0.12545
2 | [1.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 1581925.2328 | 507410.1201 | 841721.96 | 548.0499 | 724027.77 | 0 | 14469.8483 | 1070.6828 | 86.922 | 12370.2019 | 144.8489 | 182346.0094 | 0 | 289396.9652 | 21413.655 | 1738.4396 | 2089335.3529 | B010 | 1 | ahuscu |  | 0 | 1291.8552 | 0.040912
7 | [1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 1581925.2328 | 507410.1201 | 841721.96 | 548.0499 | 724027.77 | 0 | 14469.8483 | 1070.6828 | 86.922 | 12370.2019 | 144.8489 | 182346.0094 | 0 | 289396.9652 | 21413.655 | 1738.4396 | 2089335.3529 | B010 | 1 | ahu |  | 0 | 1291.8552 | 0.040912
3 | [0.0, 1.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 1585343.0685 | 527510.6575 | 732510.1858 | 5176.7398 | 833967.6552 | 0 | 12089.5453 | 787.6705 | 811.2718 | 20884.6933 | 5387.5223 | 240506.9864 | 0 | 241790.9069 | 15753.4093 | 3187.1393 | 2112853.7259 | B010 | 1 | aruscu |  | 0 | 1291.8552 | 0.11824
6 | [0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 1585343.0685 | 527510.6575 | 732510.1858 | 5176.7398 | 833967.6552 | 0 | 12089.5453 | 787.6705 | 811.2718 | 20884.6933 | 5387.5223 | 240506.9864 | 0 | 241790.9069 | 15753.4093 | 3187.1393 | 2112853.7259 | B010 | 1 | aru |  | 0 | 1291.8552 | 0.11824
3for2 | individual | opex | capex | opex_heat | opex_pump | opex_dis_loads | opex_dis_build | opex_chiller | opex_CT | opex_hex | capex_network | capex_pump | capex_dis_loads | capex_dis_build | capex_chiller | capex_CT | capex_hex | total | plant_buildings | number_of_plants | supplied_loads | disconnected_buildings | has_loops | length | avg_diam
4 | [1.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 1307968.062 | 541093.6845 | 1066439.8826 | 4115.5374 | 218845.7052 | 0 | 16387.4008 | 1310.3161 | 869.2198 | 16668.9779 | 6878.0442 | 159246.2253 | 0 | 327748.0152 | 26206.3229 | 4346.099 | 1849061.7465 | B010 | 1 | ahuaru |  | 0 | 1291.8552 | 0.085616
5 | [0.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 1328160.3678 | 593443.7341 | 241088.203 | 8649.1189 | 1064553.8155 | 0 | 11215.2767 | 683.722 | 1970.2316 | 30686.6596 | 12103.3082 | 304850.8126 | 0 | 224305.5348 | 13674.4407 | 7822.9782 | 1921604.1019 | B010 | 1 | scu |  | 0 | 1291.8552 | 0.19256
0 | [0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 1546785.411 | 387102.3037 | 0 | 0 | 1546785.411 | 0 | 0 | 0 | 0 | 0 | 0 | 387102.3037 | 0 | 0 | 0 | 0 | 1933887.7147 | B010 | 1 |  |  | 0 | 1291.8552 | 0.0216
1 | [1.0, 1.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 1586820.4508 | 443528.5865 | 1559602.4086 | 5775.3247 | 0 | 0 | 18957.592 | 1615.9057 | 869.2198 | 19282.9604 | 8429.5739 | 0 | 0 | 379151.8393 | 32318.1139 | 4346.099 | 2030349.0373 | B010 | 1 | ahuaruscu |  | 0 | 1291.8552 | 0.1088
2 | [1.0, 0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 1585799.5692 | 466542.4308 | 1288590.3569 | 4094.0343 | 274029.2075 | 0 | 16851.2804 | 1365.4703 | 869.2198 | 18351.3415 | 6167.8465 | 73342.1286 | 0 | 337025.6088 | 27309.4065 | 4346.099 | 2052342.0001 | B010 | 1 | ahuscu |  | 0 | 1291.8552 | 0.101
7 | [1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 1571151.6132 | 495783.6673 | 797606.872 | 893.9195 | 757425.2621 | 0 | 14110.6613 | 1027.9763 | 86.922 | 12171.5755 | 218.0992 | 178882.8018 | 0 | 282213.2255 | 20559.5257 | 1738.4396 | 2066935.2805 | B010 | 1 | ahu |  | 0 | 1291.8552 | 0.03668
6 | [0.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 1556582.381 | 557139.6342 | 268850.6763 | 3199.2606 | 1275441.4811 | 0 | 8122.9915 | 316.0568 | 651.9149 | 16140.976 | 2144.3074 | 367465.7272 | 0 | 162459.829 | 6321.1352 | 2607.6594 | 2113722.0152 | B010 | 1 | aru |  | 0 | 1291.8552 | 0.072856
3 | [0.0, 1.0, 1.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 0.0, 1.0] | 1572489.5805 | 547861.8143 | 762742.9884 | 3620.9262 | 790524.608 | 0 | 12025.0637 | 780.0038 | 2795.9904 | 36871.7699 | 13239.1128 | 231508.684 | 0 | 240501.2748 | 15600.0752 | 10140.8977 | 2120351.3948 | B010 | 1 | aruscu |  | 0 | 1291.8552 | 0.23815

## Report
CBD_m
supplied_loads | total | opex | capex | opex_cent | opex_dis | capex_cent | capex_dis | avg_diam | chiller_capacity [MW]
| 6923457.1186 | 5683870.7279 | 1239586.3907 | 0 | 5683870.7279 | 0 | 1239586.3907 | 0
ahuaruscu | 6924594.6696 | 5845989.4846 | 1078605.1851 | 5845989.4846 | 0 | 1078605.1851 | 0 | 0.2417
ahu | 7011937.2706 | 5779637.7253 | 1232299.5453 | 3587713.8873 | 2191923.838 | 798323.9214 | 433975.6239 | 0.17774
aru | 7146932.7005 | 5764568.0719 | 1382364.6286 | 2269190.4151 | 3495377.6568 | 508138.5234 | 874226.1051 | 0.18874
Span | 223475.5819 | 80697.344 | 142778.2379 | 751375.4132 | -2188493.071 | 287003.6711 | -365360.2856
| 3.228% | 1.42% | 11.52% |  | -38.5% |  | -29.47%
All / None | 1137.551 | 162118.7567 | -160981.2056 | -5034637.2651 | -5683870.7279 | -932485.7826 | -1239586.3907
| 0.01643% | 2.852% | -12.99% |  | -100% |  | -100%
MIX_m
supplied_loads | total | opex | capex | opex_cent | opex_dis | capex_cent | capex_dis | avg_diam
ahuaruscu | 5967123.0477 | 5034637.2651 | 932485.7826 | 5034637.2651 | 0 | 932485.7826 | 0 | 0.23676
| 5978625.4004 | 4886764.2006 | 1091861.1998 | 0 | 4886764.2006 | 0 | 1091861.1998 | 0
ahu | 6098327.7605 | 4985303.2659 | 1113024.4946 | 3521616.3262 | 1463686.9397 | 794544.0744 | 318480.4202 | 0.21845
aru | 6212728.7825 | 4941444.5611 | 1271284.2214 | 1514193.9889 | 3427250.5721 | 414437.2174 | 856847.004 | 0.16594
Span | 245605.7348 | -93192.704 | 338798.4389 | 751375.4132 | 3427250.5721 | 287003.6711 | 856847.004
| 4.116% | -1.851% | 36.33% | 14.92% |  | 30.78% |  | 0%
All / None | 11502.3527 | -147873.0645 | 159375.4172 | -5034637.2651 | 4886764.2006 | -932485.7826 | 1091861.1998
| 0.1928% | -2.937% | 17.09% | -100% |  | -100% |  | 0%
RES_m
supplied_loads | total | opex | capex | opex_cent | opex_dis | capex_cent | capex_dis | avg_diam
| 1949639.9832 | 1556509.3091 | 393130.6741 | 0 | 1556509.3091 | 0 | 393130.6741 | 0
ahuaruscu | 2042361.4527 | 1601356.388 | 441005.0648 | 1601356.388 | 0 | 441005.0648 | 0 | 0.12545
ahu | 2089335.3529 | 1581925.2328 | 507410.1201 | 857897.4629 | 724027.77 | 325064.1107 | 182346.0094 | 0.040912
aru | 2112853.7259 | 1585343.0685 | 527510.6575 | 751375.4132 | 833967.6552 | 287003.6711 | 240506.9864 | 0.11824
Span | 163213.7427 | 28833.7593 | 134379.9834 | 751375.4132 | -722541.6539 | 287003.6711 | -152623.6877
| 8.371% | 1.852% | 34.18% |  | -46.42% |  | -38.82%
All / None | 92721.4696 | 44847.0788 | 47874.3907 | -5034637.2651 | -1556509.3091 | -932485.7826 | -393130.6741
| 4.756% | 2.881% | 12.18% |  | -100% |  | -100%
3for2
supplied_loads | total | opex | capex | opex_cent | opex_dis | capex_cent | capex_dis | avg_diam
ahuaru | 1849061.7465 | 1307968.062 | 541093.6845 | 1089122.3567 | 218845.7052 | 381847.4593 | 159246.2253 | 0.085616
scu | 1921604.1019 | 1328160.3678 | 593443.7341 | 263606.5523 | 1064553.8155 | 288592.9215 | 304850.8126 | 0.19256
| 1933887.7147 | 1546785.411 | 387102.3037 | 0 | 1546785.411 | 0 | 387102.3037 | 0
ahuaruscu | 2030349.0373 | 1586820.4508 | 443528.5865 | 1586820.4508 | 0 | 443528.5865 | 0 | 0.1088
ahuscu | 2052342.0001 | 1585799.5692 | 466542.4308 | 1311770.3617 | 274029.2075 | 393200.3023 | 73342.1286 | 0.101
ahu | 2066935.2805 | 1571151.6132 | 495783.6673 | 813726.3511 | 757425.2621 | 316900.8655 | 178882.8018 | 0.03668
aru | 2113722.0152 | 1556582.381 | 557139.6342 | 281140.8999 | 1275441.4811 | 189673.907 | 367465.7272 | 0.072856
aruscu | 2120351.3948 | 1572489.5805 | 547861.8143 | 781964.9725 | 790524.608 | 316353.1303 | 231508.684 | 0.23815
Span | 271289.6483 | 264521.5185 | 6768.1298 | -307157.3843 | 571678.9028 | -65494.329 | 72262.4587
| 14.67% | 16.82% | 1.251% |  | 261.2% |  | 45.38%
All / None | 96461.3225 | 40035.0397 | 56426.2828 | 1586820.4508 | -1546785.411 | 443528.5865 | -387102.3037
| 4.988% | 2.588% | 14.58% |  | -100% |  | -100%
Best / None | 84825.9682 | 238817.3491 | -153991.3808 | -1089122.3567 | 1327939.7058 | -381847.4593 | 227856.0784
| 4.588% | 18.26% | -28.46% | -100% | 606.8% | -100% | 143.1%

## Report_full
CBD_m | total | opex | capex | opex_heat | opex_pump | opex_dis_loads | opex_chiller | opex_CT | opex_hex | CBD_m | capex_network | capex_pump | capex_dis_loads | capex_chiller | capex_CT | capex_hex | avg_diam | supplied_loads
| 6923457.1186 | 5683870.7279 | 1239586.3907 | 0 | 0 | 5683870.7279 | 0 | 0 | 0 |  | 0 | 0 | 1239586.3907 | 0 | 0 | 0 | 0.0216 | scu
| 6923457.1186 | 5683870.7279 | 1239586.3907 | 0 | 0 | 5683870.7279 | 0 | 0 | 0 |  | 0 | 0 | 1239586.3907 | 0 | 0 | 0 | 0.0216
| 6924594.6696 | 5845989.4846 | 1078605.1851 | 5765177.9825 | 27161.4882 | 0 | 45883.0774 | 4840.5631 | 2926.3733 |  | 39349.1275 | 13193.649 | 0 | 917661.5488 | 96811.2625 | 11589.5974 | 0.2417 | ahuaruscu
| 6924594.6696 | 5845989.4846 | 1078605.1851 | 5765177.9825 | 27161.4882 | 0 | 45883.0774 | 4840.5631 | 2926.3733 |  | 39349.1275 | 13193.649 | 0 | 917661.5488 | 96811.2625 | 11589.5974 | 0.2417 | ahuaru
| 7011937.2706 | 5779637.7253 | 1232299.5453 | 3532765.9354 | 15576.7096 | 2191923.838 | 34206.6649 | 3440.6248 | 1723.9526 |  | 29552.9818 | 9161.1273 | 433975.6239 | 684133.2984 | 68812.4954 | 6664.0185 | 0.17774 | ahu
| 7011937.2706 | 5779637.7253 | 1232299.5453 | 3532765.9354 | 15576.7096 | 2191923.838 | 34206.6649 | 3440.6248 | 1723.9526 |  | 29552.9818 | 9161.1273 | 433975.6239 | 684133.2984 | 68812.4954 | 6664.0185 | 0.17774 | ahuscu
| 7146932.7005 | 5764568.0719 | 1382364.6286 | 2230201.9761 | 14249.6036 | 3495377.6568 | 21061.8624 | 1866.0984 | 1810.8746 |  | 31293.5306 | 10752.5395 | 874226.1051 | 421237.2475 | 37321.9676 | 7533.2383 | 0.18874 | aru
| 7146932.7005 | 5764568.0719 | 1382364.6286 | 2230201.9761 | 14249.6036 | 3495377.6568 | 21061.8624 | 1866.0984 | 1810.8746 |  | 31293.5306 | 10752.5395 | 874226.1051 | 421237.2475 | 37321.9676 | 7533.2383 | 0.18874 | aruscu
Span | 223475.5819 | 80697.344 | 142778.2379 | 2230201.9761 | 14249.6036 | -2188493.071 | 21061.8624 | 1866.0984 | 1810.8746 | Span | 31293.5306 | 10752.5395 | -365360.2856 | 421237.2475 | 37321.9676 | 7533.2383
| 3.228% | 1.42% | 11.52% |  |  | -38.5% | [6 empty] | -29.47%
All / None | 1137.551 | 162118.7567 | -160981.2056 | 5765177.9825 | 27161.4882 | -5683870.7279 | 45883.0774 | 4840.5631 | 2926.3733 | All / None | 39349.1275 | 13193.649 | -1239586.3907 | 917661.5488 | 96811.2625 | 11589.5974
| 0.01643% | 2.852% | -12.99%
MIX_m | total | opex | capex | opex_heat | opex_pump | opex_dis_loads | opex_chiller | opex_CT | opex_hex | MIX_m | capex_network | capex_pump | capex_dis_loads | capex_chiller | capex_CT | capex_hex | avg_diam | supplied_loads
| 5967123.0477 | 5034637.2651 | 932485.7826 | 4951969.3148 | 35957.1445 | 0 | 39435.2478 | 4073.9317 | 3201.6263 |  | 41613.3879 | 11127.3869 | 0 | 788704.956 | 81478.6341 | 9561.4178 | 0.23676 | ahuaru
| 5967123.0477 | 5034637.2651 | 932485.7826 | 4951969.3148 | 35957.1445 | 0 | 39435.2478 | 4073.9317 | 3201.6263 |  | 41613.3879 | 11127.3869 | 0 | 788704.956 | 81478.6341 | 9561.4178 | 0.23676 | ahuaruscu
| 5978625.4004 | 4886764.2006 | 1091861.1998 | 0 | 0 | 4886764.2006 | 0 | 0 | 0 |  | 0 | 0 | 1091861.1998 | 0 | 0 | 0 | 0.0216
| 5978625.4004 | 4886764.2006 | 1091861.1998 | 0 | 0 | 4886764.2006 | 0 | 0 | 0 |  | 0 | 0 | 1091861.1998 | 0 | 0 | 0 | 0.0216 | scu
| 6098327.7605 | 4985303.2659 | 1113024.4946 | 3465130.5978 | 18432.3865 | 1463686.9397 | 33740.9248 | 3385.2494 | 927.1678 |  | 40390.5772 | 5255.7355 | 318480.4202 | 674818.4954 | 67704.9877 | 6374.2785 | 0.21845 | ahuscu
| 6098327.7605 | 4985303.2659 | 1113024.4946 | 3465130.5978 | 18432.3865 | 1463686.9397 | 33740.9248 | 3385.2494 | 927.1678 |  | 40390.5772 | 5255.7355 | 318480.4202 | 674818.4954 | 67704.9877 | 6374.2785 | 0.21845 | ahu
| 6212728.7825 | 4941444.5611 | 1271284.2214 | 1484698.5339 | 9161.5108 | 3427250.5721 | 17086.2062 | 1393.4024 | 1854.3356 |  | 29551.805 | 9788.1804 | 856847.004 | 341724.1246 | 27868.0487 | 5505.0587 | 0.16594 | aru
| 6212728.7825 | 4941444.5611 | 1271284.2214 | 1484698.5339 | 9161.5108 | 3427250.5721 | 17086.2062 | 1393.4024 | 1854.3356 |  | 29551.805 | 9788.1804 | 856847.004 | 341724.1246 | 27868.0487 | 5505.0587 | 0.16594 | aruscu
Span | 245605.7348 | -93192.704 | 338798.4389 | -3467270.7809 | -26795.6337 | 3427250.5721 | -22349.0416 | -2680.5293 | -1347.2907 | Span | -12061.5829 | -1339.2065 | 856847.004 | -446980.8314 | -53610.5854 | -4056.3591
| 4.116% | -1.851% | 36.33% | [7 empty] | -28.98% | -12.04%
All / None | 11502.3527 | -147873.0645 | 159375.4172 | -4951969.3148 | -35957.1445 | 4886764.2006 | -39435.2478 | -4073.9317 | -3201.6263 | All / None | -41613.3879 | -11127.3869 | 1091861.1998 | -788704.956 | -81478.6341 | -9561.4178
| 0.1928% | -2.937% | 17.09%
RES_m | total | opex | capex | opex_heat | opex_pump | opex_dis_loads | opex_chiller | opex_CT | opex_hex | RES_m | capex_network | capex_pump | capex_dis_loads | capex_chiller | capex_CT | capex_hex | avg_diam | supplied_loads
| 1949639.9832 | 1556509.3091 | 393130.6741 | 0 | 0 | 1556509.3091 | 0 | 0 | 0 |  | 0 | 0 | 393130.6741 | 0 | 0 | 0 | 0.0216
| 1949639.9832 | 1556509.3091 | 393130.6741 | 0 | 0 | 1556509.3091 | 0 | 0 | 0 |  | 0 | 0 | 393130.6741 | 0 | 0 | 0 | 0.0216 | scu
| 2042361.4527 | 1601356.388 | 441005.0648 | 1574289.7281 | 5821.5796 | 0 | 18780.9563 | 1594.9041 | 869.2198 |  | 21357.8552 | 7783.9018 | 0 | 375619.126 | 31898.0827 | 4346.099 | 0.12545 | ahuaruscu
| 2042361.4527 | 1601356.388 | 441005.0648 | 1574289.7281 | 5821.5796 | 0 | 18780.9563 | 1594.9041 | 869.2198 |  | 21357.8552 | 7783.9018 | 0 | 375619.126 | 31898.0827 | 4346.099 | 0.12545 | ahuaru
| 2089335.3529 | 1581925.2328 | 507410.1201 | 841721.96 | 548.0499 | 724027.77 | 14469.8483 | 1070.6828 | 86.922 |  | 12370.2019 | 144.8489 | 182346.0094 | 289396.9652 | 21413.655 | 1738.4396 | 0.040912 | ahuscu
| 2089335.3529 | 1581925.2328 | 507410.1201 | 841721.96 | 548.0499 | 724027.77 | 14469.8483 | 1070.6828 | 86.922 |  | 12370.2019 | 144.8489 | 182346.0094 | 289396.9652 | 21413.655 | 1738.4396 | 0.040912 | ahu
| 2112853.7259 | 1585343.0685 | 527510.6575 | 732510.1858 | 5176.7398 | 833967.6552 | 12089.5453 | 787.6705 | 811.2718 |  | 20884.6933 | 5387.5223 | 240506.9864 | 241790.9069 | 15753.4093 | 3187.1393 | 0.11824 | aruscu
| 2112853.7259 | 1585343.0685 | 527510.6575 | 732510.1858 | 5176.7398 | 833967.6552 | 12089.5453 | 787.6705 | 811.2718 |  | 20884.6933 | 5387.5223 | 240506.9864 | 241790.9069 | 15753.4093 | 3187.1393 | 0.11824 | aru
Span | 163213.7427 | 28833.7593 | 134379.9834 | 732510.1858 | 5176.7398 | -722541.6539 | 12089.5453 | 787.6705 | 811.2718 | Span | 20884.6933 | 5387.5223 | -152623.6877 | 241790.9069 | 15753.4093 | 3187.1393
| 8.371% | 1.852% | 34.18% |  |  | -46.42% | [6 empty] | -38.82%
All / None | 92721.4696 | 44847.0788 | 47874.3907 | 1574289.7281 | 5821.5796 | -1556509.3091 | 18780.9563 | 1594.9041 | 869.2198 | All / None | 21357.8552 | 7783.9018 | -393130.6741 | 375619.126 | 31898.0827 | 4346.099
| 4.756% | 2.881% | 12.18%
3for2 | total | opex | capex | opex_heat | opex_pump | opex_dis_loads | opex_chiller | opex_CT | opex_hex | 3for2 | capex_network | capex_pump | capex_dis_loads | capex_chiller | capex_CT | capex_hex | avg_diam | supplied_loads
| 1849061.7465 | 1307968.062 | 541093.6845 | 1066439.8826 | 4115.5374 | 218845.7052 | 16387.4008 | 1310.3161 | 869.2198 |  | 16668.9779 | 6878.0442 | 159246.2253 | 327748.0152 | 26206.3229 | 4346.099 | 0.085616 | ahuaru
| 1921604.1019 | 1328160.3678 | 593443.7341 | 241088.203 | 8649.1189 | 1064553.8155 | 11215.2767 | 683.722 | 1970.2316 |  | 30686.6596 | 12103.3082 | 304850.8126 | 224305.5348 | 13674.4407 | 7822.9782 | 0.19256 | scu
| 1933887.7147 | 1546785.411 | 387102.3037 | 0 | 0 | 1546785.411 | 0 | 0 | 0 |  | 0 | 0 | 387102.3037 | 0 | 0 | 0 | 0.0216
| 2030349.0373 | 1586820.4508 | 443528.5865 | 1559602.4086 | 5775.3247 | 0 | 18957.592 | 1615.9057 | 869.2198 |  | 19282.9604 | 8429.5739 | 0 | 379151.8393 | 32318.1139 | 4346.099 | 0.1088 | ahuaruscu
| 2052342.0001 | 1585799.5692 | 466542.4308 | 1288590.3569 | 4094.0343 | 274029.2075 | 16851.2804 | 1365.4703 | 869.2198 |  | 18351.3415 | 6167.8465 | 73342.1286 | 337025.6088 | 27309.4065 | 4346.099 | 0.101 | ahuscu
| 2066935.2805 | 1571151.6132 | 495783.6673 | 797606.872 | 893.9195 | 757425.2621 | 14110.6613 | 1027.9763 | 86.922 |  | 12171.5755 | 218.0992 | 178882.8018 | 282213.2255 | 20559.5257 | 1738.4396 | 0.03668 | ahu
| 2113722.0152 | 1556582.381 | 557139.6342 | 268850.6763 | 3199.2606 | 1275441.4811 | 8122.9915 | 316.0568 | 651.9149 |  | 16140.976 | 2144.3074 | 367465.7272 | 162459.829 | 6321.1352 | 2607.6594 | 0.072856 | aru
| 2120351.3948 | 1572489.5805 | 547861.8143 | 762742.9884 | 3620.9262 | 790524.608 | 12025.0637 | 780.0038 | 2795.9904 |  | 36871.7699 | 13239.1128 | 231508.684 | 240501.2748 | 15600.0752 | 10140.8977 | 0.23815 | aruscu
Span | 271289.6483 | 264521.5185 | 6768.1298 | -303696.8942 | -494.6112 | 571678.9028 | -4362.337 | -530.3124 | 1926.7706 | Span | 20202.792 | 6361.0686 | 72262.4587 | -87246.7405 | -10606.2478 | 5794.7987
| 14.67% | 16.82% | 1.251% |  |  | 261.2% | [6 empty] | 45.38%
All / None | 96461.3225 | 40035.0397 | 56426.2828 | 1559602.4086 | 5775.3247 | -1546785.411 | 18957.592 | 1615.9057 | 869.2198 | All / None | 19282.9604 | 8429.5739 | -387102.3037 | 379151.8393 | 32318.1139 | 4346.099
| 4.988% | 2.588% | 14.58% |  |  | -100% | [6 empty] | -100%
Best / None | 84825.9682 | 238817.3491 | -153991.3808 | -1066439.8826 | -4115.5374 | 1327939.7058 | -16387.4008 | -1310.3161 | -869.2198 | Best / None | -16668.9779 | -6878.0442 | 227856.0784 | -327748.0152 | -26206.3229 | -4346.099
| 4.588% | 18.26% | -28.46% | -100% | -100% | 606.8% | -100% | -100% | -100% |  | -100% | -100% | 143.1% | -100% | -100% | -100%

## Sheet1
Loads | MW |  |  |  | Centralized
Decentralized |  |  |  |  | 3for2
3for2 | ahu | aru | scu |  | CBD | 37.276
B01 | 0 | 0.454 | 0.533 |  | MIX | 31.31
B02 | 0 | 0.435 | 0.751 |  | RES | 12.221
B03 | 0 | 0.269 | 0.472
B04 | 0 | 0.209 | 0.392
B05 | 0 | 0.202 | 0.344
B06 | 0 | 0.228 | 0.413
B07 | 0 | 0.164 | 0.304
B08 | 0 | 0.404 | 0.684
B09 | 0 | 0.164 | 0.306
B10 | 8.213 | 0 | 1.373
CBD | ahu | aru | scu | Sum
B01 | 7.523 | 1.094 | 0 | 46.307
B02 | 4.074 | 1.131 | 0
B03 | 0 | 0.95 | 0
B04 | 0 | 0.784 | 0
B05 | 3.526 | 0.93 | 0
B06 | 5.662 | 4.226 | 0
B07 | 2.417 | 1.485 | 0
B08 | 2.648 | 1.595 | 0
B09 | 2.705 | 1.65 | 0
B10 | 2.423 | 1.484 | 0
MIX | ahu | aru | scu
B01 | 5.662 | 4.182 | 0 | 41.613
B02 | 3.526 | 0.922 | 0
B03 | 0 | 0.908 | 0
B04 | 9.601 | 1.084 | 0
B05 | 4.074 | 1.134 | 0
B06 | 0 | 0.567 | 0
B07 | 0 | 0.449 | 0
B08 | 0 | 0.397 | 0
B09 | 0 | 0.489 | 0
B10 | 7.523 | 1.095 | 0
RES | ahu | aru | scu
B01 | 0 | 0.716 | 0 | 14.925
B02 | 0 | 0.908 | 0
B03 | 0 | 0.562 | 0
B04 | 0 | 0.45 | 0
B05 | 0 | 0.401 | 0
B06 | 0 | 0.481 | 0
B07 | 0 | 0.354 | 0
B08 | 0 | 0.8 | 0
B09 | 0 | 0.355 | 0
B10 | 8.533 | 1.365 | 0